## Slide 1: pH Test Kit Demo

## Slide 2: Goals
Problem Statement
Who – People in poverty
What – Test something to see if it is below pH 4.6
Why – To be sure to preserve food properly.
Design Requirements
Cheap
Accurate
Simple
Common materials

## Slide 3: Checking pH
Since the goal is to check the pH of something, we need a way to tell the difference between high and low pH.
A pH indicator like anthocyanin can do this…it changes color based on the pH. If two solutions mixed with anthocyanin have different colors, we know they have different pH levels. The redder colored solution will have a lower/more acidic pH.

## Slide 4: Comparing pH
Since our test kit will use color to show the pH, we need to either:
  Tell the user how to find the color of the “right” pH.
  Give the user a pre-made sample of the “right” color.
Since giving detailed directions on how to make the anthocyanin indicator and use it to find the right color seems more difficult for a user to accomplish, this demo will provide the color for the user.

## Slide 5
This demo will provide the user with the right color by taking a solution with the “right” pH (just below 4.6) and mixing it with a pH indicator, and then taking the resulting colored liquid and letting it soak into a piece of paper. They can then compare a sample with the colored paper.
With anthocyanin, if it is the same color or redder, it is at or below pH 4.4.
If it is a bluer color, the pH is above 4.4, and is likely unsafe.

## Slide 6: Design Document
Make anthocyanin.
Dip paper strips in anthocyanin.
Let dry.
Dip one strip in a solution with pH around 4.6, and let dry.
Write directions
Make package with 1 strip of anthocyanin paper, 1 strip of anthocyanin+pH 4.6, and directions for use.

## Slide 7: Prototype
1. The papers dipped in anthocyanin did not pick up much color-very faint.
It is difficult to tell if the color changes when dipped in the 4.4 pH solution.
Does not work – cannot tell if the mystery solution is safe.

## Slide 8: Redesign
It is necessary to make the color more intense, so it is still visible when soaked into the white paper.
  Use thicker paper?
  Boil the anthocyanin to make it more concentrated by boiling off the water?
  Thicken the anthocyanin somehow?

## Slide 9: Redesign Document 2
Make anthocyanin, and boil to concentrate/reduce it.
Redesign Document 3
Make anthocyanin, and thicken with Xanthan gum.

## Slide 10: Retest 2
Reduced anthocyanin is darker.
The color does not change much when tested in the mystery liquid.
The color changes more when tested in acidic vinegar.

## Slide 11: Retest 3
Thickened anthocyanin is a brighter blue/green.
The color does not change detectably when tested in the mystery liquid.
The color changes to pink when tested in acidic vinegar.

## Slide 12: 1. The plain antho solution was too pale to be effective. It was impossible to distinguish between the pH 4.4 color and the Mystery Solution color. The color did change when put in vinegar, so the strip can at least detect acids. 2. The reduced antho solution was darker and easier to use, but there wwas still no substantial difference between the pH 4.4 and mystery solution colors. This might be because the pH is similar. These strips changed to pink in vinegar, so theey can detect acids. 3. There was no difference between the thickened antho and pH 4.4 and the pure thickened antho strip, so they couldn’t be used for comparison. It did change color in the vinegar, however.
 | Antho | Reduced Antho | Thickened Antho
Antho Strip A | Pale blue/white | Light Blue | Light blue/green
Antho and 4.4 Strip B | Pale blue/white with yellow and pink spots | Light Blue with a pink strip | Light blue/green
Antho strip A w/ Mystery solution | Pale blue/white |  | Did not try
Antho Strip A w/ Vinegar | Pale Pink | Pink | Pink
Data

## Slide 13: Conclusion
The initial design resulted in colors too faint to reliably interpret. Using a darker solution created by boiling off the excess water worked better, but it likely doesn’t work well enough to use with actual food at this time. The thickened solution strips could detect acid, but could not distinguish the difference in pH between the Thickened Anthocyanin and the Thickened Anthocyanin with pH 4.4.
While all three strips could detect acid (in vinegar with a pH of 2.4,) none of them did a reliable job of distinguishing between a pH of 4.4 and whatever the mystery solution’s pH was. Field testing would not be advised at this time due to health hazards.